## Slide 1
Clinical Diagnostics: 25-OH Vitamin D2 & D3 in Human Plasma
Application Note: VDKT10001
VITAMIN D METABOLITE EXTRACTION KIT
Compounds :
VITAMIN D KIT EXTRACTION METHOD:
(Vitamin D Metabolite Extraction kit: VDKT2C-30)
1,25-DOH Vitamin D3 25-OH Vitamin D2 25-OH Vitamin D3
Reagent Reservoir
Internal Std Plate
VITAMIN D MET Extraction Plate
Serum Sample Plate
Station 4
Station 3
Station 2
Station 1
Step1: transfer reagent to extraction plate
Step 2: Spike samples with Int. std.
and mix sample 3x.
Step 3: Transfer sample the Plate
Pos. pressure processor
Automated Process using Oroflex Personal Pipettor
LC-MS/MS ANALYSIS
RESULTS:
 | 1,25-dihydroxy VD3 | 25-OH VD2 | 25-OH VD3
Recovery% | 68 | 69 | 77
CV% | 14 | 8 | 6
(total process time is less than 20 min)

## Slide 2: Phospholipid Profile for Serum Samples using Different Sample Preparation Products
Chart: Phospholipid profile